## Arkusz1
|  | Numer sprawy: |  | DIRS-XX.2420.22.2023 | [6 empty] | Załącznik nr 3 do Zaproszenia do udziału w rozenaniu rynku
Formularz wyceny
Lp. | Asortyment (nazwa artykułu, rodzaj i typ urządzenia, dane techniczne itp.) |  |  |  | Cena jednostkowa netto (bez podatku od towarów i usług) w zł | Cena jednostkowa brutto (z podatkiem od towarów i usług) w zł | ilość/liczba | j.m. | Wartość netto (bez podatku od towarów i usług) w zł | Wartość brutto (z podatkiem od towarów i usług) w zł | Stawka podatku od towarów i usług w %
| Nazwa komponentu | Opis | Numer seryjny
1 | Amplifier | EDFA-C-D20-VLGC-DM | Optical Amplifier, Double Stage 20 dBm maximum output power, variable low gain controlled (C-Band), dual monitoring ports | 1063709052 |  |  | 4 | szt.
2 | Channel Module | MA-B2C3LT-A | Cryptomux+: Line: 1xCFP2-DCO 8/16QAM/QPSK; client: 5xQSFP28, 20x10GE/OTU2/OTU2e/STM64/OC192/8GFC; 2xOTU4, 6x25GE/32GFC, 5x40GE, 2x100GE, 12x16GFC. Max capacity Clients: 200G, Line: 200G. With encryption. | 1063802172-01 |  |  | 4 | szt.
3 |  | 9TCE-PCN-10GU+10G&1P-H | 9TCE-PCN-10GU+10G and one High-Speed port-license | BC00000646 |  |  | 4 | szt.
4 | Common Module | CEM-7 | Common Equipment Module for SH3 | 1063801056-01 |  |  | 4 | szt.
5 |  | ECM-2 | Element Controller Module. Main shelf/NE controller module. For SH12, SH4R and SH3 | 1063801012-02 |  |  | 4 | szt.
6 |  | FTM-7 | Fan Tray Module for SH3 | 1042800023-01 |  |  | 8 | szt.
7 |  | NCU-3 | Network Element Control Unit with high performance processor, 2.5 HU high, 2 x RJ45 Ethernet ports and 1 x serial interface | 1063708415-01 |  |  | 4 | szt.
8 |  | PSM-AC7 | Power Supply Module, 1450W, AC 110/220V for SH3 | 1040800067-01 |  |  | 8 | szt.
9 |  | SCU-II | Shelf Control Unit for high availability set-up, 2.5 HU high for small slots | 1063708423-01 |  |  | 4 | szt.
10 |  | F7/OPPM | General Optical Path Protection switch Module | 1063708449-01 |  |  | 4 | szt.
11 |  | OSFM+#1510 | Optical Supervisory Channel Filter Module | 1063708481 |  |  | 4 | szt.
12 |  | OSCM-PN | Optical Supervisory Channel Module with 2 pluggable network ports | 1063708463-03 |  |  | 4 | szt.
13 | Jumper | JZ/OM3/MPO12-08LC/0300 | Breakout Cable - OM3 fiber, 1 x MPO12 fan out to 8 x LC, 300 cm, LSZH | 1051002515 |  |  | 4 | szt.
14 |  | J/XX/XX/XXX | Jumper for internal cabling | 51000000 |  |  | 64 | szt.
15 | Plug | CFP2/224G/#DCTCB/SM/LC | CFP2 DWDM C-Band tunable coherent network IF center frequency from 191.25 to 196.10 THz on a 6.25GHz grid with up to 224Gbit/s, supporting QPSK 100G and 16QAM 200G mode | 1061700633-01 |  |  | 4 | szt.
16 |  | QSFP28/112G/SR4/MM/MPO | QSFP28-SR4, MPO, 4x28G, 100m, 850nm, grey, 100GBE (requires 802.3bj FEC) and OTN (requires GFEC) | 1061800724-01 |  |  | 4 | szt.
17 |  | QSFP28/112G/LR4/SM/LC | QSFP28-LR4, LC, 4x28G, 10km, LAN-WDM around 1310nm, grey, 100GBE (no FEC) and OTN | 1061800720-01 |  |  | 4 | szt.
18 |  | SFP+/11GU/1310S/SM/LC | 10G Pluggable I/F for 1310nm, short reach, SFP+ form factor | 1061701850-03 |  |  | 4 | szt.
19 |  | SFP+/11GU/DCTV/SM/LC | 11G Pluggable, very long reach C-Band tunable DWDM network IF, SFP+ form factor | 1061702000-02 |  |  | 4 | szt.
20 |  | SFP/FE/C1510V/SM/LC | pluggable client I/F for 1510nm, very long reach, 125Mbit/s only | 1061706193 |  |  | 4 | szt.
21 | Shelf | SH3 | SH3 3HU 300mm deep shelf with 4 high power slots with Front Access for AC or DC PSM, FTM, ECM, includes 19'', ETSI and 23'' Brackets, side air shields, Front Cover and Grounding cables | 1078800022-01 |  |  | 4 | szt.
22 | Software and License | F7/SW 20.X BASIC SH3 | Release 20.x system software for SH3 Chassis. Affected items in Product-Group F8/SHELF 3HU | 1091701206 |  |  | 4 | szt.
23 |  | RTU/H/CLIENT PORT | High-Speed port license. Right to use for one client port for 4WCC, 5WCA, 6WCA, 9TCE | 1091701923 |  |  | 12 | szt.
24 |  | F7/RTU FC/FICON | Right to use Fiber Channel/Ficon as client services | 1091701905 |  |  | 12 | szt.
25 | NMS – System zarządzania siecią DWDM – Ensemble Controller | ENC/SERVER R14.X | Ensemble Controller Server License (any OS) Release 14.x, license shipped in electronic form, Media is NOT included, order separately when required | 1091006140 |  |  |  | szt.
26 |  | F8/NMCL/M | Ensemble Controller Connection License for one compact shelf of FSP 3000 C (3HU or 4HU), license shipped in paper form | 91003510 |  |  | 4 | szt.
27 |  | F7/NMCL | FSP Network Manager Connection License for FSP 3000R7 | 91003150 |  |  | 4 | szt.
28 | Accessory | 16ALM/#1650D/AC | ALM extended reach Monitor Unit, 16 ports with LC/APC connector, AC powered, please check if ALM/RTU DWDM applies | 1043709841-01 |  |  | 1 | szt.
29 |  | F7/ALM/MK-SINGLE-19 | Mounting Kit for F7/16ALM as a single unit in a 19'' rack | 1013904015 |  |  | 1 | szt.
30 |  | F7/16/1CSM/1HU+#1650 | ALM WDM Coupler Shelf, 1HU filter shelf w/ 16 x 1650nm upgrade ports, passive and unmanaged, LC/APC connector to ALM processor unit, LC/PC to network upgrade ports. Mounting kit included. NOTE that this component is on fire sale. | 1043739861-01 |  |  | 1 | szt.
31 |  | DR/PTP/LC/APC/GREY | ALM Demarcation Reflector, pad, LC/APC connector. Demarcation reflector optimized for PON, grey and DWDM channels. Do not use for CWDM. | 1043739882-01 |  |  | 4 | szt.
32 | Licencje do NMS | ENC/SERVER R14.X | Ensemble Controller Server License (any OS) Release 14.x, license shipped in electronic form, Media is NOT included, order separately when required | 1091006140 |  |  | 1 | szt.
33 |  | ENC/NMCL/FAS/M | Fiber Connection License ALM Medium: ENC License for one shelf of FAS ALM | 1091007430 |  |  | 1 | szt.
34 |  | ENC/EFD | Ensemble Fiber Director License: Serves for Geographical Management of Fibers in connection with ALM devices | 1091008940 |  |  | 1 | szt.
35 |  | ENC/EFD/CL/M | Ensemble Fiber Director connection License for one ALM unit medium, applicable to ENC 13.1 and later versions | 1091009401 |  |  | 1 | szt.
36 |  | ENC/EFD/EDITOR | Ensemble Fiber Editor Application License for one client | 1091008941 |  |  | 1 | szt.
37 | - | Usługi asysty technicznej | - | - |  |  | 300 | roboczogodzina
RAZEM:
Cena za dostawę komponentów w poz. 1 - 36 uwzględnia czynności, o których mowa w pkt 1.8 OPZ tj. opracowanie projektu wdrożenia, dostarczenie i uruchomienie, montaż w szafach RACK, uruchomienie infrastruktury DWDM po rozbudowie i wdrożenie nowych funkcjonalności, w tym aktywację Oprogramowania i przeprowadzenia testów wymaganych projektem wdrożenia, aż do ich pozytywnego zakończenia, opracowanie dokumentacji powdrożeniowej, doposażenie systemu transmisyjnego DWDM w dedykowane oprogramowanie zarządzające, jednodniowe warsztaty dotyczące wdrożonego rozwiązania DWDM, obsadzenie wszystkich portów strony klienckiej wkładkami zgodnymi z wymaganiami producenta umożliwiającymi podłączenie w wykorzystaniem kabli światłowodowych ze złączem LC oraz umozliwiających podłączenie infrastruktury sieciowej zlokalizowanej w odległości nie większej niż 100 m, bez konieczności rozszerzenia licencji na Oprogramowanie ani innych licencji posiadanych przez Zamawiajacego.
Zamawiający informuje, że Zaproszenie do udziału w rozeznaniu rynku nie jest ogłoszeniem o zamówieniu w rozumieniu Ustawy z dnia 11 września 2019 r. Prawo zamówień publicznych (t.j. Dz.U. z 2022 r. poz. 1710 ze zm.), a zawarcie umowy w trybie ofertowym jest wykluczone (przepisy art. 66 i n. Kodeksu cywilnego wyłącza się)
| Firma przedsiębiorcy | [7 empty] | Data wyceny
| NIP | NIP przedsiębiorcy | [6 empty] | Termin ważności wyceny
Adres siedziby
| Strona internetowa | [7 empty] | Akceptuję projektowane postanowienia umowy
Imię i nazwisko sporządzającego
PODPIS w imieniu przedsiębiorcy składającego formularz
E-mail do kontaktu
Telefon do kontaktu